## Slide 1: Principles of two-photon microscopy
Joe Donovan

## Slide 2: Problem: out of focus light

## Slide 3: Problem: scattering
Selecting emitted light is difficult when scattered

## Slide 4: What if we could confine the excitation process?
How? – the excitation light has to reach the focus

## Slide 5: Excitation process
One photon
Two photon
Linear
emission ∝ excitation
Non-linear
emission ∝ excitation2

## Slide 6: Nonlinearity

## Slide 7: Spatial profiles

## Slide 8: Absorption cross section
How likely is a photon to interact with a molecule?
1 photon cross section has units of cm2 photon−1
2P cross section has units of Goeppert-Mayer
  1 GM = 10−50 cm4 second photon−1
  2P cross sections are small!
Notes: Not physical size

## Slide 9: Math time!
High NA is important for 2P
Short laser pulses critical
Ti-saph: 80 MHz rep rate, ~100 fs pulses
Notes: Duty cycle under 1e-5
This isn’t considering the benefits of NA for collection
Duty cycle under 1e-5
This isn’t considering the benefits of NA for collection
〖(1/2ℏ𝑐)〗^2

## Slide 10: Brief laser intro
Laser gain medium
Mirror
Mirror

## Slide 11: Laser cavity modes
Wikipedia
Notes: Can introduce a relationship between their phases - modelocking

## Slide 12: Laser modelocking
Encourage fixed phase relationship between modes
Single pulse traversing laser cavity
Achieved using saturable absorber, non-linear optical effects, or active modulation
Wikipedia

## Slide 13: Ultrashort pulses

## Slide 14: Refractive index varies with wavelength
Notes: Around 20-50nm of spectral bandwidth

## Slide 15: Ultrashort pulse dispersion
group velocity dispersion (GVD)

## Slide 16: Dispersion - 20 mm of glass
Newport

## Slide 17: Additional 2P benefits
Excitation wavelength ~twice as long (NIR)
NIR has less scattering and absorption
Imaging laser is invisible to live samples

## Slide 18: Photon collection
Do we need a pinhole?
  Nope!
Can use all collected light, even if scattered

## Slide 19: White board time!
Derive 2P layout