## Slide 1: Illuminating brain function with neuronal activity indicators
Michael Lin, MD PhD
Stanford University
CSHL 2019.07.31

## Slide 2: New brighter GFPs
Lambert...Shaner www.biorxiv.org/content/10.1101/677344v2
Chart: Wavelength (nm)
 | EC (mM-1 cm-1) | QY | EC × QY
dAausFP1 | 170 | 0.97 | 165
mNeonGreen | 115 | 0.80 | 92
mClover3 | 109 | 0.78 | 85
mAvicFP1 | 65 | 0.63 | 41
mEGFP | 56 | 0.60 | 34
mNeonGreen
mClover3
mEGFP
Bajar...Lin 2016 Sci Rep
(AUC scaled to total brightness)
(Normalized to peaks)

## Slide 3: Orthogonal imaging with 4 fluorescent proteins

## Slide 4: Orthogonal imaging with 4 fluorescent proteins

## Slide 5: Fucci4: 4-color cell cycle reporter

## Slide 6
Ajetunmobi et al. 2014 Prog Neurobiol, Du and Masmanidis 2011 PLoS One
Reading neuronal activity

## Slide 7: A less disruptive alternative: fluorescent neuronal activity indicators
Ca
Voltage
Roger Tsien 1985 / Leica
Di-8-ANEPPS
Leslie Loew 1981 / Roger Tsien 2014
Cohen, Salzburg et al 1974 J Memb Biology
merocyanine
ref: https://www.ncbi.nlm.nih.gov/pmc/articles/PMC5018425/

## Slide 8
Advantages
can be imaged at a distance, so less toxicity
can track events that cannot be assessed in real-time physically or chemically (vesicles, neurotransmitters, calcium)
Mrsic-Flogel lab
A less disruptive alternative: fluorescent neuronal activity indicators

## Slide 9: A less disruptive alternative: fluorescent neuronal activity indicators
Additional advantages of genetically encoded indicators
no need for injections during experiment (make transgenic mouse or inject virus weeks before)
same cells can be imaged long-term
can be expressed in specific cell types or subsets
Marvin and Looger 2013 N Methods

## Slide 10
What can we image with proteins?
1. Vesicular fusion
2. Neurotransmitter release
3. Voltage change
4. Calcium

## Slide 11: Neuronal activity indicators based on GFP
Vesicular release (pH)
Neurotransmitters
Calcium
Voltage

## Slide 12: GFP absorption is affected by chromphore protonation
Tsien 1998 Ann Rev

## Slide 13: GFP as a pH sensor: GFP S65T

## Slide 14: GFP as a pH sensor: Ecliptic pHluorin
Nature July 1998

## Slide 15: GFP as a pH sensor: Superecliptic pHluorin

## Slide 16: Synapto-pHluorin use
SEP
pH 7.3
Synaptic cleft, pH 7.3
Vesicle lumen
pH 5.5
~ 0.1 ms
pH 7.3
~ 0 ms
~ 0 ms
2 s
H
H
400
450
500
550
pKa = 7
Absoprtion
(arbitrary units)
Absoprtion
(arbitrary units)
400
450
500
550
Wavelength (nm)
Wavelength (nm)
pKa = 7
Exocytosis
Endocytosis
Deprotonation
Protonation
400
450
500
550
pKa = 7
Absoprtion
(arbitrary units)
Wavelength (nm)

## Slide 17: Can you see a single vesicle?
Vesicles per AP: 1
Molecules per synaptic vesicle: 10
Molecules fluorescent at neutral pH (SEP): 5
Green autofluorescence: 1800 GFPs per um2
Diffraction-limited spot size: 0.06 um2 (1P) or 0.16 um2 (2P)
Autofluorescence in diffraction-limited spot: 188 or 288
Assume negligible fluorescence from SEP in vesicles (due to quenching) and low membrane expression
Predicted max dF/F: 4.5% or 1.7%
Observed in vitro by TIRF: 3.8% (Leitz and Kavalali 2014)
2.5% observed with pHTomato, where background is from pHTomato not autofluorescence
Notes: Calculations confirm their ability to detect single-AP events in vitro. Each synaptic vesicle may contain up to ~10 GEPI molecules32, and an AP in a hippocampal or cortical synapse evokes the release of less than one vesicle on average33. The maximum number of GEPI molecules exocytosed following a single AP is thus ~10. With indicator pKa values near neutral pH, ~5 of these ~10 molecules will be excitable. To detect these molecules, their signal must be discernible above autofluorescence. Cellular autofluorescence elicited by ~480-nm excitation is equivalent in brightness to 1800 GFP molecules per μm2 of membrane34, corresponding to 110 or 290 molecules in typical one- and two-photon diffraction-limited spots of 0.06 μm2 or 0.16 um2. Thus the ~5 GEPI molecules responding in a single AP would produce ΔF/F of 4.5 % or 1.7 % over autofluorescence in a diffraction-limited spot. In cell cultures, single fusion events have approached the predicted 4.5% ΔF/F by one-photon microscopy, with detection aided by synchronization with stimuli and by total internal reflectance microscopy to eliminate out-of-focus background35. However, in vivo, increased autofluorescence and scattering will reduce the obtainable ΔF/F while decreasing signal photons acquired, adversely affecting d’ values23. Thus GEPIs are not likely to be useful for imaging single APs in vivo.

## Slide 18: Genetically encoded activity indicators based on GFP
Vesicular release (pH)
Neurotransmitters
Calcium
Voltage

## Slide 19: Transmitter indicators: iGluSnFR
Glu
cpGFP
GltI
Synaptic cleft
< 6 ms
< 1 ms
≤ 85 ms
< 1 ms
H
cpGFP
GltI
H
Glu binding,
deprotonation
Glu unbinding,
protonation
Glu
release
Glu
reuptake
400
450
500
550
pKa > 7
Absoprtion
(arbitrary units)
Absoprtion
(arbitrary units)
400
450
500
550
Wavelength (nm)
Wavelength (nm)
pKa < 7
400
450
500
550
pKa > 7
Absoprtion
(arbitrary units)
Wavelength (nm)

## Slide 20: iGluSnFR 2p spectra
+Glu
–Glu
Marvin and Looger 2012 Nature Methods

## Slide 21: Single-vesicle detection by iGluSnFR
Jensen Rusakov 2017 Cell Calcium
Peak glutamate concentration following a single release in the synaptic cleft: > 100 uM
iGluSnFR Kd = 5 uM
iGluSnFR maximum responsivity ~100%
iGluSnFR baseline fluorescence ~12% of GFP

## Slide 22: Genetically encoded activity indicators based on GFP
Vesicular release (pH)
Neurotransmitters
Calcium
Voltage

## Slide 23: cpGFP and calcium sensing: Camgaroo
But Kd was 4uM

## Slide 24
Kd of 235nM, suggested to be an advantage over Camgaroo (kind of true)
Calcium indicators: Pericam/GCaMP

## Slide 25: GCaMP2 mechanism

## Slide 26
Akerboom J et al. J. Neurosci. 2012;32:13819-13840
More evidence of the absorbance shift
Notes: Design of GCaMP5s. A, Schematic of the GCaMP3 structure with sites of engineering shown. B, Structural effects of the D381Y mutation (D380Y in GCaMP3 numbering). Chromophore environment at the cpGFP/CaM interface in GCaMP2 (top, PDB 3EVR)(Akerboom et al., 2009) and GCaMP5G (bottom, PDB 3SG4) structure reported here. Structures are shown as a diagram and sticks colored by domain (cpGFP, green; linker, white; CaM, cyan). Selected portions of the model around the GFP chromophore (CRO) are represented as sticks with ordered water molecules represented as red spheres. C, (ΔF/F)max versus Fapo for both linker 1 variants of GCaMP3 (left) and linker 2 variants of GCaMP3 (right) in bacterial lysate. Left, The green square denotes L1-Gln-Pro, the blue square denotes L1-His-Pro. Right, Linker variants L2-Pro-X are depicted as red squares, L2-X-Pro as blue triangles, and original GCaMP3 linker variants (L2-Thr-Arg) as green dots. D, One-photon absorption (left), one-photon emission (middle), and two-photon excitation (right) spectra of both GCaMP3 (top) and GCaMP5G (bottom). Calcium-free spectra are depicted by dashed blue lines and calcium-saturated spectra by solid red lines. Dashed green lines depict (ΔF/F)max, plotted on the right axis.

## Slide 27
Akerboom J et al. J. Neurosci. 2012;32:13819-13840
More evidence of the absorbance shift
isosbestic point*
* Can be used as intrinsic calcium-invariant reference, e.g. Kim and Deisseroth, 2016 Nature Methods
Notes: Design of GCaMP5s. A, Schematic of the GCaMP3 structure with sites of engineering shown. B, Structural effects of the D381Y mutation (D380Y in GCaMP3 numbering). Chromophore environment at the cpGFP/CaM interface in GCaMP2 (top, PDB 3EVR)(Akerboom et al., 2009) and GCaMP5G (bottom, PDB 3SG4) structure reported here. Structures are shown as a diagram and sticks colored by domain (cpGFP, green; linker, white; CaM, cyan). Selected portions of the model around the GFP chromophore (CRO) are represented as sticks with ordered water molecules represented as red spheres. C, (ΔF/F)max versus Fapo for both linker 1 variants of GCaMP3 (left) and linker 2 variants of GCaMP3 (right) in bacterial lysate. Left, The green square denotes L1-Gln-Pro, the blue square denotes L1-His-Pro. Right, Linker variants L2-Pro-X are depicted as red squares, L2-X-Pro as blue triangles, and original GCaMP3 linker variants (L2-Thr-Arg) as green dots. D, One-photon absorption (left), one-photon emission (middle), and two-photon excitation (right) spectra of both GCaMP3 (top) and GCaMP5G (bottom). Calcium-free spectra are depicted by dashed blue lines and calcium-saturated spectra by solid red lines. Dashed green lines depict (ΔF/F)max, plotted on the right axis.

## Slide 28: Windows into brain function: Genetically encoded activity indicators
Real-time movie, Neurolabware.com
0.002 um
20000 um
Multi-unit
Multi-day
Multi-channel
Genetically targeted

## Slide 29
Chen et al 2014 Nature
Limitations of genetically encoded calcium indicators
Kinetics are delayed relative to spike
Most subthreshold effects are filtered out at the soma
Less sensitive in some neuron types

## Slide 30: Neurons perform analog calculations

## Slide 31: All GECIs compared
Lin and Schnitzer 2016 Nature Neuroscience

## Slide 32: Genetically encoded activity indicators based on GFP
Vesicular release (pH)
Neurotransmitters
Calcium
Voltage

## Slide 33: Let’s image voltage!
Di-8-ANEPPS
Loew and Simpson 1981
Some limitations of organic dyes:
Small fluorescence change
Dye labels all membranes, so no sparse labeling or cell type-specific labeling
Phototoxicity
Salzburg 1972
Merocyanine

## Slide 34: Voltage indicators have a long history

## Slide 35
How cells sense voltage

## Slide 36: Early VSD-based GEVIs

## Slide 37: Transitional VSD-based GEVI
2007

## Slide 38: New VSD-based GEVI designs are diverse
+
+
+
(–)
(+)
(–)
(+)
+
+
+
ASAP1
ArcLightQ239/
Bongwoori
GFP
34/10 ms
29/7 ms
2 ms
2 ms
+
+
+
+
+
+
Out (+)
In (–)
Asp227
SEP
cpGFP
1 ms
1 ms
1 ms
1 ms
VSD
VSD
H
Depol.
Repol.
+
+
+
(–)
(+)
VSD
movement
VSD
recovery
Out (+)
In (–)
+
+
+
(–)
(+)
+
+
+
H
Depol.
Repol.
VSD
movement
VSD
recovery
FlicR1
< 1 ms
< 1 ms
+
+
+
Out (+)
In (–)
1 ms
1 ms
VSD
Depol.
Repol.
+
+
+
(–)
(+)
VSD
movement
VSD
recovery
H
(–)
(+)
+
+
+
H
cpRFP
b
a
c

## Slide 39
Polarized
Depolarized
(–)
(+)
(+)
(–)
+
+
+
+
+
+
+
+
outside
inside
Voltage (mV)
ΔF/F (%)
τ1 (ms) | 2.1 ± 0.2
τ2 (ms) | 71.5 ± 1.6
% fast | 60.2 ± 1.2
τ1 (ms) | 2.0 ± 0.1
τ2 (ms) | 50.8 ± 1.2
% fast | 43.7 ± 0.6
Inactivat. Activation
kinetics
Chart: 
| -120 | -100 | -80 | -60 | -40 | -20 | 0 | 30 | 50
∂F/F | 23.436 | 11.724 | 3.2243 | -2.7828 | -6.6492 | -9.7798 | -12.69 | -17.544 | -20.949
St-Pierre et al. 2014 Nature Neuroscience
GFP
VSD
ASAP1: The first fast VSD-based voltage indicator

## Slide 40
Chart: – ΔF/F (%)
Chart: Voltage (mV)
ASAP1
ArcLight Q239
Chart: 
Chart: 
Time (ms)
Time (ms)
St-Pierre et al. 2014 Nature Neuroscience
ASAP1: The first fast VSD-based voltage indicator

## Slide 41
ASAP2f and 2s
Chart: 
| -120 | -100 | -80 | -60 | -40 | -20 | 0 | 30 | 50
ASAP1 | 31.442 | 16.804 | 4.8016 | -3.7444 | -9.0001 | -14.298 | -17.787 | -23.294 | -27.062
ASAP2s | 32.887 | 19.344 | 6.0633 | -5.7914 | -16.396 | -24.843 | -31.536 | -38.657 | -41.389
Command voltage (mV)
ASAP2s
ASAP1
Chart: 
| -120 | -100 | -80 | -60 | -40 | -20 | 0 | 30 | 50
ASAP1 | 30.582 | 16.346 | 4.8278 | -3.8511 | -9.8343 | -13.942 | -17.406 | -22.906 | -26.803
ASAP2f | 43.511 | 22.029 | 6.1332 | -4.6228 | -11.237 | -15.593 | -18.977 | -24.196 | -27.747
Steady-state response (%ΔF/F)
Command voltage (mV)

## Slide 42
Semi-rational engineering of ASAP2s
Chart: 
ASAP2s
Chart: 
 | 1
Chart: 
ASAP1
Voltage (mV)
Chart: 
 | 1
– % ΔF/F
Time (ms)
1p
Chart: 
| ASAP1 | ASAP2
Mean | 8.5618 | 12.228
***
Optical spike width (ms)
Chart: 
| ASAP1 | ASAP2
Mean | 9.02 | 17.328
Peak amplitude (– % ΔF/F)
***
Chart: 
| ASAP1 | ASAP2
 | 1 | 1.8797
Area under
spike (a.u.)
*
ASAP1
ASAP2s
ASAP1
ASAP2s
ASAP1
ASAP2s
ASAP1
ASAP2s

## Slide 43
ASAP3
ASAP3b
ASAP2s
100 Hz

## Slide 44
ASAP3

## Slide 45
ASAP3

## Slide 46: ASAP3

## Slide 47: ASAP3 works in 2p imaging
sub-millisecond activation kinetics at 32 ºC
Katalin Toth laboratory
ASAPs function in vitro with 2p

## Slide 48: ASAP1 vs GCaMP

## Slide 49: 2P voltage imaging is going to be harder than calcium imaging
100-fold less signal: Indicator only lines the membrane rather than fills the cell
10-fold faster signal: Indicator needs to be sampled at ≥ 300 Hz rather than 30 Hz
Therefore, a voltage indicator will have to be excited 1000x more intensely than a calcium indicator with similar response amplitude to achieve the same SNR, if the same scanning method is used
The answer?
Excite only informative regions! (Use random access.)

## Slide 50: An example of RAMP imaging of ASAP2s
ASAP2m + AlexaFluor594
ASAP2m + AlexaFluor594
*
ASAP2
50 ms
40 mV
Single voxel, single trial
925 Hz scanning, 20KHz rep
–10%
ΔF/F
s
Chamberland and St-Pierre 2017 eLife

## Slide 51
One more problem: How to discretize the siganl
ASAP3
ASAP3-Kv2.1
ASAP3
0 15 50 100 150
1.0
0.8
0.6
0.4
0.2
0.0
Distance from soma (µm)
Normalized GFP/RFP ratio
ASAP3-Kv2.1
ASAP3
Dieudonné laboratory

## Slide 52
ASAP3
ASAP3-Kv
Dieudonné laboratory
One more problem: How to discretize the siganl

## Slide 53: Imaging voltage in vivo with ASAP3 and 2p microscopy
Dieudonné laboratory

## Slide 54: Imaging theta oscillations and spikes in hippocampus
Dieudonné laboratory

## Slide 55: The other GEVI family

## Slide 56: Opsins as voltage indicators

## Slide 57: Opsins as voltage indicators
2012 Nature Methods

## Slide 58: Opsins as voltage indicators
(+)
(–)
(+)
(–)
Opsins
0.3 ms
0.3 ms
1 ms
1 ms
opsin
H
Depol.
Opsin
protonation
Out (+)
In (–)
d
(+)
(–)
(+)
(–)
FRET
Opsin-FP
<1 ms
<1 ms
FP
1 ms
1 ms
opsin
H
Depol.
Repol.
Opsin
protonation
Opsin
deprotonation
out (+)
in (–)
e
Opsin
deprotonation
Repol.

## Slide 59: GEVIs compared
AP response Brightness
8% 22
18% 4.2
48% 0.1
10% < 90
Ace2N-2aa-mNeon
Zou and Cohen 2014 Nature Comm
Gong and Schnitzer 2015 Science
Zou and Cohen 2014 Nature Comm
Zou and Cohen 2014 Nature Comm

## Slide 60
Brinks and Cohen, 2015
ASAPs vs opsin voltage-responsiveness under 2P illumination

## Slide 61
Opsins show reduced responsiveness under 2P illumination
Chamberland and St-Pierre 2017 eLife

## Slide 62: The photocycle prevents 2p readout, but can also be used to create a partial solution
Chien Cohen 2017 Biorxiv
Arch (Hochbaum et al 2014 N Methods)
➔ Quasar2 (brighter) (Zou et al 2014 N Comm)
➔ Quasar3 (better trafficking) (Adam et al 2019 Nature)
➔ paQuasar3 (photoactivation by blue light) (Adam et al 2019 Nature)
➔ NovArch (2p photoactivation, but reduced response) (Chien et al 2017 biorxiv)
MacLaurin Cohen 2013 PNAS
Arch

## Slide 63: 1p imaging of opsin GEVIs in vivo
Adam et al 2019 Nature

## Slide 64: All GEVIs compared
Lin and Schnitzer 2016 Nature Neuroscience (in press)

## Slide 65: Conclusions
GEVIs offer temporal resolution and subthreshold reporting that GECIs cannot
There are a variety of possible GEVI mechanisms
  ASAPs are single cpGFPs modulated by movement (like GCaMP) and are 2p compatible
  Other FP-VSD fusions also exist but are slower or less responsive
  Opsins are inherently voltage-sensitive and fast. They can be used alone (with high illumination power) or as a FRET acceptor (lower responsivity).
1p and 2p GEVI imaging in vivo with single-spike resolution are both possible, with different trade-offs (throughtput vs accuracy)
Better indicators and faster imaging methods will both help

## Slide 66: ASAPs vs opsin voltage-responsiveness under 2P illumination
Chart: Time (s)
| -4.5 | -4 | -3.5 | -3 | -2.5 | -2 | -1.5 | -1 | -0.5 | 0 | 0.5 | 1 | 1.5 | 2 | 2.5 | 3 | 3.5 | 4 | 4.5 | 5
mean | 1 | 1.0027 | 1.0035 | 1.0108 | 0.99199 | 1.0014 | 0.99649 | 1.0037 | 0.99996 | 1.0163 | 0.64894 | 0.64073 | 0.6694 | 0.66557 | 0.67325 | 0.66798 | 0.68037 | 0.6622 | 0.67647 | 0.67201
mean | 0.98994 | 0.99569 | 1.0433 | 0.98595 | 0.95771 | 1.0091 | 1.0167 | 1.0294 | 0.97637 | 1.0037 | 1.0022 | 1.0074 | 1.0508 | 1.077 | 1.06 | 1.0474 | 1.0548 | 1.0312 | 1.0663 | 1.0707
KCl
↓
Ace-mNeonGreen
ASAP

## Slide 68: Red pHluorins

## Slide 69
2013

## Slide 70
GCaMP6f
labrigger.com
Chen et al 2014 Nature

## Slide 72: AP detection in awake mouse by ASAP3
10%
dF/F
10 s
Firing rate (Hz)
Running Speed (cm/s)
Stephane Dieudonne, ENS
N = 396, Mean response = –10%, FWHM = 8 ms
dF/F (%, mean ± std)
Time (s)

## Slide 73: 2p imaging of ASAP3 in striatial slice
Fluorescence (a.u.)
Voltage (a.u.)

## Slide 74: FP wavelengths span the visible spectrum
Nature and engineered FPs generate several chromophore structures

## Slide 75: An older idea: FRET-based GECIs
August 1997

## Slide 76: FRET = Fluorescence Resonance Energy Transfer

## Slide 77: FRET pair example: CFP-YFP
440nm
460-500nm
520-550nm

## Slide 78: An optimized FRET GECI, Twitch
Nature Methods 2014
Twitch1-3
Twitch4-5